Learning Objectives – Molecular and Atomic Spectroscopy

Background Material

After completing this unit the student will be able to:

- Explain what it means to use spectroscopic methods for qualitative and quantitative analysis.

- Identify the terms in and describe deviations to Beer’s Law.

- Describe the effect of changing the slit width and the impact it will have on qualitative and quantitative analyses.

- Qualitatively determine the relative error in absorbance measurements and determine the optimal range for measurement purposes.

- Describe the desirable features of a radiation source.

- Explain the advantages of a dual versus single-beam spectrophotometer.

- Explain the difference between a 3- and 4-level laser and why it is not possible to have a 2-level laser.

- Compare the output of and advantages of prisms and gratings as dispersing elements.

- Explain how a photomultiplier tube works.

- Explain how an array detector works and describe the advantages of using an array detector.

Ultraviolet/Visible Spectroscopy

After completing this unit the student will be able to:

- Compare and contrast atomic and molecular spectra.

- Explain why atomic spectra consist of lines whereas molecular spectra at room temperature are broad and continuous.

- Justify the difference in molecular spectra at room temperature and 10K.

- Describe the cause of Doppler broadening.

- Determine the effect of conjugation on a UV/Vis absorption spectrum.

- Determine the effect of non-bonding electrons on a UV/Vis absorption spectrum.

- Determine the effect of solvent on the energy of n-* and -* transitions.

- Evaluate the utility of UV/Vis spectroscopy as a qualitative and quantitative method.

- Describe a procedure by which UV/Vis spectroscopy can be used to determine the pKa of a weak acid.

Molecular Luminescence

After completing this unit the student will be able to:

- Describe the difference between a singlet and triplet state.

- Draw an energy level diagram and identify the transitions that correspond to absorption, fluorescence, internal conversion, radiationless decay, intersystem crossing and phosphorescence.

- Explain why phosphorescence emission is weak in most substances.

- Draw a diagram that shows the layout of the components of a fluorescence spectrophotometer.

- Describe the difference between a fluorescence excitation and emission spectrum.

- Draw representative examples of fluorescence excitation and emission spectra.

- Describe a procedure for measuring phosphorescence free of any interference from fluorescence.

- Justify why fluorescence measurements are often more sensitive than absorption measurements.

- Describe the meaning and consequences of self-absorption.

- Identify variables including the effect of pH that can influence the intensity of fluorescence.

- Identify the features that occur in organic molecules that are likely to have high fluorescent quantum yields.

- Compare two molecules and determine which one will undergo more collisional deactivation.

Infrared Spectroscopy

After completing this unit the student will be able to:

- Describe the selection rule for infrared-active transitions.

- Determine the vibrations for a triatomic molecule and identify whether they are infrared-active.

- Draw the design of a non-dispersive infrared spectrophotometer and describe how it functions.

- Describe the difference between time and frequency domain spectra.

- Explain how a Michelson Interferometer can be used to obtain a time domain spectrum.

- Explain the advantages of Fourier Transform infrared spectroscopy over conventional infrared spectroscopy.

Raman Spectroscopy

After completing this unit the student will be able to:

- Determine whether the molecular vibrations of a triatomic molecule are Raman active.

- Explain the difference between Stokes and anti-Stokes lines in a Raman spectrum.

- Justify the difference in intensity between Stokes and anti-Stokes lines.

- Draw the Stokes and anti-Stokes lines in a Raman spectrum of a compound when given the energies of the different transitions.

Atomic Spectroscopy

After completing this unit the student will be able to:

- Compare and contrast the advantages of flame, furnace and inductively coupled plasma atomization sources.

- Justify why continuum radiation sources are usually not practical to use for atomic absorption spectroscopy.

- Describe the design of a hollow cathode lamp and justify the reasons for a hollow cathode configuration and low pressure of argon filler gas.

- Devise an instrumental procedure to account for flame noise in atomic absorption spectroscopy.

- Devise an instrumental procedure to account for molecular absorption and scatter from particulate matter in atomic absorption spectroscopy.

- Describe three possible strategies that can be used to overcome the problem of non-volatile metal complexes.

- Devise a procedure to overcome excessive ionization of an analyte.

- Devise a procedure to account for matrix effects.