Filename: CuCoCrNi.xlsx

File Structure: visible spectra recorded at 642 wavelengths (380.5 nm – 899.5 nm) for 80 solutions that contain 1 – 4 of Cu2+, Co2+, Cr3+, or Ni2+ in 0.10 M HNO3, recorded using a Vernier SpectroVis Plus spectrometer using LoggerPro, and exported as a .csv file

- column a: id for sample

- column b: list of analytes in the sample

- column c: number of analytes in the sample (labeled as dimension)

- column d: concentration of Cu2+ (prepared from single stock solution of 0.0500 M Cu2+)

- column e: concentration of Co2+ (prepared from single stock solution of 0.100 M Co2+)

- column f: concentration of Cr3+ (prepared from single stock solution of 0.0375 M Cr2+)

- column g: concentration of Ni2+ (prepared from single stock solution of 0.130 M Ni2+)

- columns h – xr: absorbance at the stated wavelength

Suggested Uses:

- analysis for single analyte using external standards calibration

- multicomponent analysis of binary, ternary, and quaternary mixtures

- choosing wavelengths for Beer’s law analysis

- principal component analysis

- cluster analysis

- multiple linear regression